| Component / Sensor | Primary Usage |
| --- | --- |
| Raspberry Pi 4 Model B (8GB RAM) | Acts as the main brain/computer of the project to process sensor data, run scripts, and connect to networks. |
| MicroSD Card 64GB (SanDisk Class 10) | Provides storage for the Raspberry Pi's operating system, code files, and local data logs. |
| Raspberry Pi Camera Module v2 | Captures high-resolution images or video; useful for security, time-lapses, or computer vision. |
| GPIO Extension Board + Ribbon Cable | Safely extends the Raspberry Pi's pins to a breadboard, making wiring and prototyping much easier. |
| Reed Switch / Magnetic Sensor | Detects magnetic fields; commonly used to check if doors or windows are open or closed. |
| LED Indicator Module | Provides simple visual feedback (e.g., showing if the system is powered on, processing data, or if an error occurred). |
| DHT22 Temperature & Humidity Sensor | Measures the ambient air temperature and relative humidity of the environment. |
| MQ-135 Air Quality/CO2/Gas Sensor | Detects various gases (like CO2, ammonia, smoke, and benzene) to monitor indoor or outdoor air quality. |
| BMP280 Barometric Pressure+Temp | Measures atmospheric pressure and temperature; heavily used for weather forecasting and altitude calculation. |
| DS18B20 Waterproof Temperature Probe | Accurately measures temperature while submerged in liquids, soil, or harsh wet environments. |
| ADS1115 16-bit ADC Module | Converts analog signals from sensors (like the LM35) into digital signals that the Raspberry Pi can understand, as the Pi lacks built-in analog pins. |
| LM35 Analog Temperature Sensor | Measures ambient air temperature and outputs a precise analog voltage proportional to the Celsius temperature. |
| Wind Speed Anemometer Sensor | Measures the velocity (speed) of the wind in outdoor weather stations. |
| Wind Direction Vane | Determines the specific compass direction from which the wind is blowing. |
| Wind Speed + Direction Combo Unit | An integrated device that measures both how fast the wind is blowing and from which direction simultaneously. |
| RS485 to USB Converter Module | Allows the Raspberry Pi to communicate with industrial-grade sensors over long distances using the RS485 protocol via a standard USB port. |
| Mounting Bracket / Pole Clamp | Physically secures hardware and weather sensors to a pipe or pole, ensuring they remain stable and capture accurate data. |
| Turbidity Sensor Module | Measures water clarity or cloudiness by detecting the amount of light scattered by suspended particles in a liquid. |
| TDS Sensor Module | Measures Total Dissolved Solids to determine the concentration of dissolved substances, acting as an indicator of water purity. |
| PH Sensor Module + Electrode | Measures the acidity or alkalinity of a liquid on the pH scale. |
| Dissolved Oxygen Sensor Module | Measures the amount of gaseous oxygen dissolved in water, which is a critical parameter for aquatic life and water quality analysis. |
| Conductivity / EC Sensor | Measures the electrical conductivity of a solution; widely used in hydroponics and agriculture to determine salinity and nutrient concentrations. |
| ORP Sensor | Measures Oxidation-Reduction Potential, which indicates a water system's ability to break down contaminants or its level of sanitization. |
| Rain/Drizzle Detection Sensor Module | Detects the presence of water droplets on its surface to determine if it is currently raining. |